# Use of HearTwave System with Ergometers

## The HearTwave System has been designed to be used mainly with Treadmill systems because with Treadmill it is easier to reach smoothly an elevated heart rate >120 bpm

## Anyhow it is possible to use the HearTwave unit with the Ergometer, taking care that the patient pedalling rate is more that 60rpm ( or less than 40rpm ) because possible false Alternans  can be generated in the range > 120 bpm and at this Heart Rate, the presence of Alternans is not  considered positive.